OWENSBORO MUNICIPAL UTILITIES

BID # 18-01-002

OMU CUSTOMER SERVICE CENTER FLOORING

ADDENDUM # 1

December 21, 2017

Each bidder shall note this revision to the contract documents and incorporate this revision in his proposal. Each bidder shall sign the addendum acknowledgement below, and attach the signed addendum to their submitted bid proposal.

- The manufacturer and color code of the carpet, cove base, and tile:

Carpet:  Mohawk – Mineral 928 (2’ x 2’)

Cove Base:  4” Vinyl Charcoal

Tile:  Crossville Porcelain 12” x 12” (To match existing 1st floor hallway)

- 2 Boxes of Additional Carpet Tiles Left over.  Also any additional leftover carpet most be left with OMU Customer Service

- CONTRACTOR shall remove existing carpet, tile, and cove base and dispose of off-site.

- CONTRACTOR shall repair any damage to walls, doors, surfaces, or equipment that is damaged during the performance of this project.

- CONTRACTOR shall include in the bid package the manufacturer’s warranty on the carpet, tile and cove bases.

- CONTRACTOR shall be responsible for disposing of all trash and leaving work site clean after completion of work each weekend and at the completion of project.

- CONTRACTOR shall be responsible for obtaining the exact measurements for their bid proposal during the pre-bid/jobsite visit.  No additional monies will be awarded for not taking adequate measurements at time of visit.

*************************************************************************************************

ACKNOWLEDGEMENT

The undersigned bidder hereby certifies that the revision set forth in this addendum has been incorporated in this bid and is a part of the contract documents.

| BY | _________________________________________________________ |
| --- | --- |
| COMPANY | __________________________________________________________ |
| DATE | __________________________________________________________ |