

**JANUARY 5, 2017**

**Bid Addendum #1**

**OMU BUILDING AUTOMATION SYSTEM**

**BID #17-01-002**

1. **Building Automation System (BAS) is to be a complete new front end and field DDC**

 **devices. This will not be an integrated system where as the front end is new and the**

 **existing field equipment is utilized. OMU is requesting an entire new BAS system.**

1. **Based upon budget restraints, the bid may be negotiated with the awarded vendor for an implementation date after May 31, 2016.**
2. **Submit thumb drive or CD with original and one copy of bid documents.**
3. **Bidder to also submit pricing for a Preventative Maintenance plan. Details of PM agreement to be detailed in document.**

**BIDS CANNOT BE E-MAIL OR FAXED. ALL BIDS SHALL BE SUBMITTED TO THE FOLLOWING ADDRESS BELOW ON OR BEFORE THE 2:00 P.M., JANUARY 24, 2016 TIME AND DATE:**

**OWENSBORO MUNICIPAL UTILITIES**

**BID #17-01-002**

**1531 EAST 4TH STREET**

**OWENSBORO, KY 42303**

**Please sign and attach to your bid:**

**Company Name:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Representative:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**